Please Note: These specifications may or may not include all available options including, dimensions, etc. To customize and modify these specIFICATIONs for your specific application, please contact Dave Bradford at 847-344-8989 or dave@bradfordsystems.com

Also, if this shelving product is to be mounted on a mobile carriage system, this specIFICATION sheet can be added to our mobile shelving specifications.

This specification section uses numbered level paragraph styles, which were not included in versions of Word prior to Word 97. In the interests of clarity, all paragraph styles are formatted flush left.

Specification editor’s choice items are shown in [square brackets]. (Optional) paragraphs denote items available at additional cost.

Use TAB to go DOWN one paragraph number level; SHIFT+TAB to go one paragraph number level UP.

SECTION 105613 – METAL STORAGE SHELVING (FrameWRX)

1. GENERAL
	1. RELATED DOCUMENTS
		1. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.
	2. SUMMARY
		1. This Section includes the following:

Cantilever bracket type metal shelving.

* + 1. Related Work, Not Furnished:

Finish floor covering materials and installation.

* + 1. Related Sections:

[Sections in Division 9 – Finishes, relating to finish floor and base materials.]

* + 1. Allowances:
		2. Alternates:
	1. REFERENCES
		1. American National Standards Institute (ANSI) Standards:

Applicable standards for fasteners used for assembly.

* + 1. American Society for Testing and Materials (ASTM) Standards:

Applicable standards for steel sheet materials used for fabrication.

* + 1. American Institute Of Steel Construction (AISC) Standards:

Applicable standards for steel materials used for fabrication.

* + 1. American Library Association (ALA) Standards:

Applicable standards for Cantilever Bracket Type Metal Library Bookstack; Library Technology Reports.

* 1. DESCRIPTION
		1. General: Cantilever Bracket Type Metal Shelving.
		2. Finishes:

Fabricated Metal Components and Assemblies: All components to be painted with an electrostatically applied Powder Coat paint that meets or exceeds specifications set forth by the American Library Association for Cantilever Bracket Type Metal Library Bookstacks published in their Library Technology Reports.

Fabricated Laminate Components and Assemblies: Manufacturer’s standard low-pressure or high-pressure laminate finishes.

Fabricated Non-Porous Solid Surface Components and Assemblies: Manufacturer’s standard.

Fabricated Acrylic Components and Assemblies: Manufacturer’s standard.

Sizes can be described in paragraph below or in a SCHEDULE attached as the last page of the section.

* + 1. Sizes:

Available in heights of [24] [42] [66] [78] [84] [90] inches ([610MM] [1066MM] [1676MM] [1981MM] [2133MM] [2286MM]) as noted on drawings (variable in 1 inch (25MM) increments as required).

Available in nominal widths of [33.7] [24] [30] [36] inches ([856MM] [609MM] [762MM] [914MM]) as noted on drawings.

Available in nominal single-faced depths of [13] inches ([330MM]) as noted on drawings.

Available in double-faced depths of [28] inches ([711MM]) as noted on drawings.

* 1. PERFORMANCE REQUIREMENTS
		1. Design Requirements:

Limit overall width to [\_\_\_\_] inches [\_\_\_\_] MM.

Limit overall depth to [\_\_\_\_] inches [\_\_\_\_] MM.

Limit overall height to [\_\_\_\_] inches [\_\_\_\_] MM.

* + 1. [Seismic Performance: Provide cantilever shelving capable of withstanding the effects of earthquake movement when required by applicable building codes.]
	1. SUBMITTALS
		1. Product Data: Submit manufacturer's product literature and installation instructions for each type of cantilever shelving required. Include data substantiating that products to be furnished comply with requirements of the contract documents.
		2. Shop Drawings: Show fabrication, assembly, and installation details including descriptions of procedures and diagrams. Show complete extent of cantilever shelving installation layout including quantities, locations and types of accessory units required. Include notations and descriptions of all installation items and components.

Show installation details at non-standard conditions, if any.

Provide layout, dimensions, and identification of each unit corresponding to sequence of installation and erection procedures.

Provide installation schedule and complete erection procedures to ensure proper installation.

* + 1. Samples: Provide minimum 3 inch (76MM) square example of each color and texture on actual substrate for each component to remain exposed after installation.
		2. Selection Samples: For initial selection of colors and textures, submit manufacturer's color charts consisting of actual product pieces, showing full range of colors and textures available.
		3. Warranty: Submit draft copy of proposed warranty for review by the [Architect] [Architect/Engineer] [Engineer] [Designer].
		4. Maintenance Data: Provide in form suitable for inclusion in maintenance manuals for cantilever shelving. Data shall include operating and maintenance instructions, parts inventory listing, purchase source listing, emergency instructions, and similar information.

Submit manufacturer's instructions for proper maintenance materials and procedures.

Submit manufacturer's printed instructions for maintenance of installed work, including methods and frequency recommended for maintaining optimum condition under anticipated use conditions. Include precautions against using materials and methods, which may be detrimental to finishes and performance.

* + 1. [Reference List: Provide a list of recently installed cantilever shelving to be visited by owner, architect, and contractor. Intent of list is to aid in verifying the suitability of manufacturer's products and comparison with materials and product specified in this section.]
	1. QUALITY ASSURANCE
		1. Manufacturer Qualifications: Engage an experienced manufacturer who is ISO 9001 certified for the design, production, installation and service of cantilever shelving. Furnish certification attesting ISO 9001 quality system registration.
		2. Installer Qualifications: Engage an experienced installer who is a manufacturer's authorized representative for the specified products for installing cantilever shelving.

Minimum Qualifications: 1-year experience installing cantilever shelving of comparable size and complexity to specified project requirements.

* 1. DELIVERY, STORAGE AND HANDLING
		1. Follow manufacturer’s instructions and recommendations for delivery, storage and handling requirements.
	2. PROJECT CONDITIONS
		1. Field Measurements: Verify quantities of cantilever shelving units before fabrication. Indicate verified measurements on Shop Drawings. Coordinate fabrication and delivery to ensure no delay in progress of the Work.
		2. Established Dimensions: Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabricating cantilever shelving units without field measurements. Coordinate construction to ensure actual dimensions correspond to established dimensions.

Sequencing and Scheduling paragraph can be omitted unless project conditions dictate that and incremental installation sequence is warranted or necessary.

* 1. [SEQUENCING AND SCHEDULING]
		1. Sequence cantilever shelving units [with other work] to minimize possibility of damage and soiling during remainder of construction period.
		2. Schedule installation of specified cantilever shelving after finishing operations; including painting have been completed.
		3. Provide components, which must be built in at a time, which causes no delays general progress of the Work.
		4. Pre-installation Conference: Schedule and conduct conference on project site to review methods and procedures for installing cantilever shelving units including, but not limited to, the following:

Recommended attendees include:

* + - 1. Owner's Representative.
			2. Prime Contractor or representative.
			3. The [Architect] [Architect/Engineer] [Engineer/Architect] [Engineer] [Designer].
			4. Manufacturer's representative.
			5. Subcontractors or installers whose work may affect, or be affected by, the work of this section.]
	1. Warranty
		1. Provide a written warranty, executed by Contractor, Installer, and Manufacturer, agreeing to repair or replace units, which fail in materials or workmanship within the established warranty period. This warranty shall be in addition to, and not a limitation of, other rights the Owner may have under General Conditions provisions of the Contract Documents.
		2. Limited Lifetime Warranty: Subject to the terms in the written warranty, warrant the original purchaser exclusively that the shelving manufactured by it will be free from defects in materials and workmanship for the lifetime of the shelving.

A separate maintenance agreement paragraph may not be required since accessory items have few parts requiring long-term or continuing maintenance.

* 1. [MAINTENANCE]
		1. [Provide manufacturer’s extended maintenance agreement for [\_\_\_\_] [years] [months], commencing on the day the standard maintenance warranty ends.]
1. PRODUCTS
	1. MANUFACTURER:

Spacesaver or equal as determined BY OWNER / ARCHITECT. For pricing, contact David Bradford at 847-344-8989 or DAVE@BRADFORDSYSTEMS.COM BASIC MATERIALS

* + 1. General: Provide materials and quality of workmanship, which meets or exceeds established industry standards for products specified. Use furniture grade sheet metal, wood panels, plastic laminate and fasteners for component fabrication unless indicated otherwise. Material thicknesses/gauges are manufacturer’s option unless indicated otherwise.
	1. MANUFACTURED COMPONENTS
		1. Welded Frame Upright:
			1. The welded frame shall consist of 2 vertical upright columns constructed of a minimum of 14-gauge (1.9MM) steel. Upright column shall be 2" (51MM) deep with a 1 1/4" face with 1/2" (13MM) return flanges. The uprights are fully welded to a tubular top spreader and a channel bottom spreader. The uprights shall have shelf attachment slots on 1" (25MM) increments the entire length of the upright. Slots shall be 5/8" x 1/4" (16MM x 6MM). Uprights shall include location indicators the entire length of upright on a minimum of 6" (152MM) centers.
			2. The tubular top spreader shall be a minimum of 14-gauge (1.9MM) steel tube 2 1/2" tall x 1" wide (64MM tall x 25MM wide).
			3. The bottom spreader channel shall be a 16-gauge (1.5MM) channel 1-3/4" tall x 1" wide (44MM tall x 25MM wide) with two 1/2" (12MM) square holes provided for cage nuts for use with optional levelers.
			4. Non-welded frame cantilever type shelving units are unacceptable.
		2. Base supports:
			1. A base support shall be provided to provide lateral unit stability. The support shall be a minimum of 14-gauge (1.9MM) steel 9" (228MM) high with a 1" (25MM) return on the bottom for support. Support shall attach to frame upright with two 3/8" (10MM) – 16 UNC bolts and 3/8” (10MM) keps nuts.
			2. [A gussetted base support shall be provided between every unit where work surfaces are used, and on mobile to provide lateral unit stability. The gusset will be a minimum of 14-gauge (1.9MM) steel with a minimum of 1-1/2” return on the bottom for support.]
		3. Leveler Kits:
			1. Single-Faced: Consists of one or two 3/8 (10MM) -16 UNC cage nut(s) and leveler(s) held by the single faced base support. Two additional cage nuts and levelers are provided to be used in the welded frame itself.
			2. Double-Faced:Consists of two or four 3/8 (10MM) -16 UNC cage nuts and levelers held by the double-faced base support. Two additional cage nuts and levelers are provided to be used in the welded frame itself.
		4. Shelves:
			1. Shall be a single-piece formed from a minimum of 16-gauge (1.5MM) cold rolled steel with a double 90-degree bend on the rear of the shelf and a double 90-degree bend on the front of the shelf. Shelf front, rear and sides all to be turned up 90-degrees, creating a tray-style shelf. Shelf brackets shall be integral to the shelf itself and have a minimum of three hooks, enabling two-position mounting of the shelf to the column (post). Two-position mounting shall be level and at 17-degree slope for easier access / gravity feed applications.
		5. EZ Rail:
			1. Shall be a one-piece welded design manufactured from two formed parts a minimum of 16-gauge (1.5MM) cold rolled steel, and mounting brackets made from a minimum of 14-gauge (1.9MM) steel and welded at the rear of the rail. The EZ Rail shall contain a top surface for engagement of industry standard hanging bins as well as a slot on the face for the engagement of industry standard slat wall accessories and peg board hooks.
		6. Metal canopy tops:
			1. Shall be formed from minimum 18-gauge (1.2MM) cold rolled steel with a triple 90-degree bend on front edges with a maximum edge thickness of ¾” (19MM). Single face and double face units to be one-piece design.
			2. [A one-piece design canopy top shall be provided where rolling frames are employed. The canopy top shall be formed from a minimum of 18-gauge (1.2MM) cold rolled steel.]
		7. Work Surface mounting brackets:
			1. Work surface mounting brackets shall be a one-piece design formed from a minimum of 11-gauge (3.0MM) hot rolled steel and contain a minimum of two hooks for mounting into the column (post), and one safety lug to help prevent accidental disengagement. One bracket provided per post.

All parts of identical dimensions shall be totally interchangeable without modification.

* + 1. ACCESSORIES:
			1. [(Optional) Acrylic Canopy Tops: Provide manufacturer’s standard.]
			2. [(Optional) Acrylic End Panels: Provide manufacturer’s standard.]
			3. [(Optional) Metal End Panel: Provide manufacturer’s standard.]
			4. [(Optional) Laminate End Panel: Provide manufacturer’s standard.]
			5. [(Optional) End Panel Mounting Brackets: Provide manufacturer’s standard.]
			6. [(Optional) Non-Porous Solid Surface Work Surfaces: Provide manufacturer’s standard.]
			7. [(Optional) Laminate Work Surfaces: Provide manufacturer’s standard.]
			8. [(Optional) Plain Backstop – Narrow: Provide manufacturer’s standard.]
			9. [(Optional) Transverse Overhead Tie Struts: Provide manufacturer’s standard.]
			10. [(Optional) Browsing Box: Provide manufacturer’s standard.]
			11. [(Optional) Centerstop (Offset for back-to-back shelving): Provide manufacturer’s standard.]
			12. [(Optional) Base Shelf Filler: Provide manufacturer’s standard.]
			13. [(Optional) Intermediate Wall Filler: Provide manufacturer’s standard.]
			14. [(Optional) Corner Filler: Provide manufacturer’s standard.]
			15. [(Optional) Flush Mount Closed Back Kit: Provide manufacturer’s standard.]
			16. [(Optional) Closure Panel: Provide manufacturer’s standard.]
			17. [(Optional) Base Shelves for Static: Shall be formed from minimum 18-gauge (1.2MM) cold rolled steel with a triple 90-degree bend on the rear of shelf and a double bend with a 3" (76MM) surface at the front. Shelf ends to be turned down 90-degrees to engage and interlock into the shelf end brackets.]
			18. [(Optional Base shelves on Mobile: Shall be 3/4” (19MM) to sit flush with top of carriage profile. Base shelves shall be individual on both faces of double face or single face units, with center filler channels. Each base shelf shall be supported by shelf end brackets for maximum strength and support.]
		2. Face Panels on Mobile:

Materials: Metal End Panel [Plastic laminate clad particleboard with plastic edging on vertical edges].

* + - 1. Finishes: [Selected from manufacturer’s standard available colors and patterns.] [(Optional) Selected by the [Architect] [Architect/Engineer] [Engineer] [Designer].
	1. FABRICATION
		1. General: Coordinate fabrication and delivery to ensure no delay in progress of the Work.
	2. FINISHES
		1. Colors: [Selected from manufacturer’s standard available colors.] [Provide in custom colors as selected by [Architect] [Architect/Engineer] [Engineer.]
		2. Paint Finish: Provide factory applied electrostatic powder coat paint. Meet or exceed specifications of the American Library Association.
		3. Low-Pressure Laminate Finish: [Selected from manufacturer’s standard available colors and patterns.] [Provide in custom colors as selected by [Architect] [Architect/Engineer] [Engineer.]
		4. High-Pressure Laminate Finish: [Selected from manufacturer’s standard available colors and patterns.] [Provide in custom colors as selected by [Architect] [Architect/Engineer] [Engineer.]
		5. Acrylic Finish: [Selected from manufacturer’s standard available colors and patterns.] [Provide in custom colors as selected by [Architect] [Architect/Engineer] [Engineer.]
		6. Non-Porous Solid Surface Finish: [Selected from manufacturer’s standard available colors and patterns.] [Provide in custom colors as selected by [Architect] [Architect/Engineer] [Engineer.]

Describe optional (additional cost) finish options below, or delete paragraph.

* + 1. [(Optional) (Describe finish materials)]
1. EXECUTION
	1. EXAMINATION
		1. Examine shelving units scheduled to receive accessories [with Installer present] for compliance with requirements for installation tolerances and other conditions affecting performance of specified accessory items.
		2. Verify that intended installation locations of sorter unit units will not interfere with or block established required exit paths or similar means of egress once units are installed.
		3. Proceed with accessory installation only after unsatisfactory conditions have been corrected.
	2. INSTALLATION
		1. General: Follow manufacturer’s written instructions for installation of each type of accessory item specified.
	3. FIELD QUALITY CONTROL
		1. Verify accessory unit alignment and plumb after installation. Correct if required following manufacturer’s instructions.
		2. Remove components that are chipped, scratched, or otherwise damaged and which do not match adjoining work. Replace with new matching units, installed as specified and in manner to eliminate evidence of replacement.
	4. ADJUSTING
		1. Adjust all accessories to provide smoothly operating, visually acceptable installation.
	5. CLEANING
		1. Immediately upon completion of installation, clean components and surfaces. Remove surplus materials, rubbish and debris resulting from installation upon completion of work and leave areas of installation in neat, clean condition.
	6. DEMONSTRATION/TRAINING
		1. Schedule and conduct demonstration of installed accessory items and features with Owner's personnel.
		2. Schedule and conduct maintenance training with Owner's maintenance personnel. Training session should include lecture and demonstration of all maintenance and repair procedures that end user personnel would normally perform.
	7. PROTECTION
		1. Protect system against damage during remainder of construction period. Advise Owner of additional protection needed to ensure that system will be without damage or deterioration at time of substantial completion.

You could use pre-printed schedules and simply add them as last page. Add paragraph 3.8 SCHEDULES and add subparagraph: “A. Equipment Schedules, See next page.” or similar wording.

END OF SECTION